| ESONET EQUIPMENT PERFORMANCE EVALUATION CHECKLIST |
| --- |
| AREAS | YES | NO | N/A |
| 1. Does the facility maintain a preventive maintenance schedule for all equipment? |  |  |  |
| 2. Is equipment clean and in good physical condition? |  |  |  |
| 3. Are there any frayed, loose, or disconnected cables? |  |  |  |
| 4. Are the Optera 3500 covers properly secured for correct air flow/cooling? REF: Nortel NTP 323-1059-201 page 3-127 |  |  |  |
| 5. Are fibers properly ran and labeled correctly? |  |  |  |
| 6. Are all T-1 & DS-3 cables labeled correctly? |  |  |  |
| 7. Are all LEDs operational? (perform lamp test) REF: Nortel NTP NTRN10AK page 3-29 |  |  |  |
| 8. Are there any standing alarms? (log into equipment and verify, check with GNSC for open tickets) |  |  |  |
| 9. Is the Optera 3500/DX equipment labeled correctly? |  |  |  |
| 10. Are the fiber, DS3, & T-1 patch panels labeled correctly? REF: DISAC, C2.5.1 |  |  |  |
| 11. Is there -48 VDC distribution properly labeled? |  |  |  |
| AREAS | YES | NO | N/A |
| 12. Is the Optera 3500 shelf air filter in need of replacement? REF: Nortel NTP 323-1059-543 page 2-72 thru 2-74 |  |  |  |
| 13. Is there a preventive maintenance log or documentation that reflects a history of preventive maintenance performed? |  |  |  |
| 14. Are circuit layout records completed and available? REF: DISAC 310-70-1, C2.2.2.10 |  |  |  |
| 15. Does the site maintain test equipment needed to perform troubleshooting? REF:DISAC 310-70-1, C6.5.3.1 |  |  |  |
| 16. Is there an updated inventory of spare parts on hand? (if applicable) |  |  |  |
| 17. Is there a complete set of technical publications/commercial manuals for each piece of equipment on site? REF: DISAC 310-70-1, C9.5.6.2 |  |  |  |