| DISA CONUS INTERNET PROTOCOL ROUTER (IPR) NETWORK PERFORMANCE EVALUATION CHECKLIST |
| --- |
| AREAS | YES | NO | N/A |
| A. ADMINISTRATION 1. Is there an OI to inform personnel on how to prepare the node for power down/power up procedures? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 2. Does the facility maintain a current, up-to-date DISA reference library that is accessible to controllers as outlined in Enclosure 1 of this circular? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 3. Does the facility maintain Technical Orders (TOs), Technical Manuals (TMs) or commercial publications for all associated IPR equipment? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| B. NODE SITE COORDINATOR (NSC) 1. Is the NSC and alternate appointed in writing? Ref: DISAC 310-55-9, C2.1 |  |  |  |
| 2. Is the information on the NSC and/or alternate current? Ref: DISAC 310-55-9, C2.1 |  |  |  |
| 3. Does the NSC provide, or arrange for provision of, local site assistance to Monitor Center (MC) controllers on a 24-hour, 7-day-a-week basis or can provide local site assistance within 2 hours? Ref: DISAC 310-55-9, C2.1 |  |  |  |
| 4. Does the NSC ensure that installed node site equipment is not altered, tampered with, moved, or perform maintenance other than external cleaning without proper authorization? Ref: DISAC 310-55-9, C2.2 |  |  |  |

| AREAS | YES | NO | N/A |
| --- | --- | --- | --- |
| 5. Is the NSC coordinating and monitoring scheduled and unscheduled corrective maintenance, as directed by DISA or the network MC? Ref: DISAC 310-55-9, C2.2 |  |  |  |
| 6. Does the NSC maintain a current site access roster from site security personnel and use it to coordinate node site access? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 7. Has the NSC implemented site security procedures as specified in applicable DOD and service directives? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 8. Does the NSC maintain NIPR/SIPR Network documentation issued by DISA and the Network Information Center (NIC) i.e. newsletters, and bulletins? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 9. Does the NSC maintain a current list of telephone numbers for the network MC, host administrators for each host connected to the node site equipment, servicing telephone company, DII technical control? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 10. Does the NSC maintain a file of correspondence for all Telecommunications Service Requests (TSRs) and Telecommunications Service Orders (TSOs) for NIPR/SIPR and Communications Server access circuits and interswitch trunks terminating at the node site? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 11. Does the NSC retain up-to-date node configuration diagrams? Ref: DISAC 310-55-9, C2.3 |  |  |  |
| 12. Does the NSC have electronic mail capability? Ref: DISAC 310-55-9, C2.7 |  |  |  |
| 13. Does the NSC account for NIPR/SIPR node equipment IAW DOD and S/A regulations? Ref: DISAC 310-55-9, C2.10 |  |  |  |

| AREAS | YES | NO | N/A |
| --- | --- | --- | --- |
| C. FACILTIES |  |  |  |
| 1. Are KG-84A circuits (host/terminal) using Over The Air Rekey (OTAR) procedures? Ref: NSTISSI No. 3017 |  |  |  |
| 2. Does the NSC provide for the care and safekeeping of all installed node site equipment and equipment shipped to the node site for future installation? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 3. Is there adequate space provided around the node? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 4. Is the node on an Uninterruptible Power Source (UPS)? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 5. Are all cables neatly run? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 6. Are all cables connectors strapped to a support fixture? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 7. Are patch panels labeled to reflect the correct Command Communication Service Designator (CCSD) and Telecommunications Restoration Priority (TSP)? Ref: DISAC 310-55-9, C2.5, |  |  |  |
| 8. Is equipment grounded within the equipment cabinets? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 9. Are all intercabinet and power cables labeled? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| 10. Is the node equipment dust-free? Ref: DISAC 310-55-9, C2.5 |  |  |  |

| AREAS | YES | NO | N/A |
| --- | --- | --- | --- |
| 11. Have the batteries in the crypto been changed/checked in the last four months?? Ref: None |  |  |  |
| 12. Does the site have test equipment with correct interfaces to perform fault isolation? Ref: DISAC 310-55-9, C2.5 |  |  |  |
| D. TRAINING 1. Has the NSC and/or alternate attended the DISN NSC training course? Ref: DISAC 310-55-9, C4.1 |  |  |  |
| 2. Are the NSC and alternate familiar with the node equipment racks and guidance for its use? Ref: DISAC 310-55-9, C4.2 |  |  |  |
| 3. Are the NSC and alternate familiar with the encryption rack and the guidance for its use? Ref: DISAC 310-55-9, C4.2 |  |  |  |
| 4. Are the NSC and alternate familiar with the communications rack and the guidance for its use? Ref: DISAC 310-55-9, C4.2 |  |  |  |
| NOTES |  |  |  |